Annexure A

Environmental requirement for medical devices and in-vitro diagnostic medical devices

(As per Fifth Schedule of Medical Device Rules 2017)

| S. No | Name of Device | Type of Operation | Conditions/Specification |
| --- | --- | --- | --- |
| Point 1 | In vitro diagnostic medical devices | Dry, Liquid Reagent Preparation | Well Lighted and ventilated controlled temperature and humidity as per process or product requirement |
| Reply | Q-Lisa® HBsAg High Sensitive Test | Dry Preparation | Humidity not required. Well lighted and ventilated with controlled temperature (25°C). |
| Point 2 |  | Coating of Plates/ sheets etc. |  |
| Reply | Q-Lisa® HBsAg High Sensitive Test | Plate Coating | Humidity not required. Well lighted and ventilated with controlled temperature (25°C). |
| Point 3 |  | Assembly and primary packing |  |
| Reply | Q-Lisa® HBsAg High Sensitive Test | Assembly and packaging of device in sealed pouch. | Humidity not required. Well lighted and ventilated with controlled temperature (25°C). |
| Point 4 |  | Primary packing and Filling of buffer | Well Lighted and ventilated with controlled temperature and humidity as per process or product requirement. Provision of Laminar hood if required, clean room class 8 or Class 9 as per product/process requirement. |
| Reply | Q-Lisa® HBsAg High Sensitive Test | Filling of buffer | Well lighted and ventilated with controlled temperature (25°C). Laminar hood is required. |
| Point 5 |  | Secondary Packing | Well Lighted and ventilated, controlled temperature if required. |
| Reply | Q-Lisa® HBsAg High Sensitive Test | Well Lighted and ventilated controlled with temperature (25 °C) | Well lighted and ventilated with controlled temperature (25°C). |
| Point 6 |  | Storage | As per recommended storage condition of the product. |
| Reply | Q-Lisa® HBsAg High Sensitive Test | Controlled Temperature (2-8°C) | Controlled Temperature (2-8°C) |