# Quality Manual # ISO 13485 - 2016 Edition: 01 Factory Address: Office Address: Plot No.2&3, Pocket-H, Sector -5 C-108, DSIIDC, Bawana Industrial Area Naraina Industrial Area New Delhi - 110039. Phase -I, New Delhi – 110028. Tel: 91-9940494982 Tel: 91-9910076968 E-Mail- manickvasagam@qlinebiotech.com E-Mail- ajay.mahanty@qlinebiotech.com Website: www.qlinebiotech.com

Section No. 0.1

| # INDEX |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S. No. | ISO Clause No. | Title | Sec. No. | Pages | Rev. No. | Issue Date |
| 01 | - | Index | 0.1 | 1 | 01 |  |
| 02 | - | Controlled Copy Holders | 0.2 | 2 | 01 |  |
|  |  | Scope and exclusions | 0.3 | 3 | 01 |  |
| 03 | - | List of amendments | 1 | 4 | 01 |  |
| 04 | - | Control of the Quality Manual | 2 | 5 | 01 |  |
| 05 | - | Abbreviations | 2 | 6 | 01 |  |
| 05 | - | Organization Profile | 3.0 |  | 01 |  |
| 06 | 4.0 | Quality Management System (Processes Description, Processes Interaction Matrix, Responsibility Matrix, QSPs) | 4.0 | 7 | 01 |  |
| 07 | 5.0 | Management Responsibility (Organization Chart, Responsibilities of Key Personnel,) | 5.0 | 11 | 01 |  |
| 08 | 6.0 | Resource Management | 6.0 | 14 | 01 |  |
| 09 | 7.0 | Product Realization | 7.0 | 15 | 01 |  |
| 10 | 7.3 | Design & Development | 7.0 | 15 | 01 |  |
| 11 | 8.0 | Measurement, Analysis and Improvement | 8.0 | 21 | 01 |  |

Section No. 0.2

0.2.1 Controlled Copy Holders: Controlled Copy No. Copy Holders - Certifying Agency - Factory Copy (Factory Manager) - Managing Director

Section No.: 0.3

- Scope & Exclusions: This Quality Manual details the Quality Management System of Q-Line Biotech Private Limited (Formerly Known as POCT Services Private Limited). The scope of the Quality Management System covers the “Design, Manufacture and Distribution of In-Vitro Diagnostic Reagents and Instruments.” - Exclusions: - Clause no. 7.5.1.3 i.e., particular requirements for sterile medical devices not Applicable to Q-Line Biotech Private Limited (Formerly known as POCT Services Pvt. Ltd) as the product does not require any sterilization. - As the product is not an implantable medical device or a active implantable medical device, the clause 7.5.3.2.2 of ISO 13485:2016 is not applicable. - As the organization does not deal with any customer property, no procedure has been developed for Customer Property and clause 7.5.4 of ISO 13485: 2016 is not applicable.

Section No. 1.0

| - List of Amendments: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S. No. | Section No. | Title | Rev. No. | Issue Date | Nature of Amendment |

Section No.: 2.0

- Control of Quality Manual: - This Quality Manual is divided into 8 sections. Each section is page numbered and the page number is indicated on each page. - The approving authority for this Quality Manual is Managing Director and each page of the document is signed by him. - The original document is filed as master copy by the Management Representative (MR). - Photocopies of the document are signed and issued by the Management Representative to the holders of controlled copies listed in section 0.2. The copies are stamped as CONTROLLED COPY'. - Photocopies of the current issue of the document may be given to other persons by Managing Director or MR for information, but these copies are stamped as 'INFORMATION COPY'. - Any revision to this document requires the approval of the Managing Director. - After approval, the revised version is reissued by the MR as given in para 2.1.4 to the holders of controlled copies. The first issue of the Quality Manual is numbered 'Revision 00' and the subsequent revisions are serially numbered. - The nature of revision is available in the list of amendments at section 1. - The Quality Manual is also given an edition number. When there are a number of amendments at a time, the entire Quality Manual is re- issued by the Management Representative after giving a new Edition number. - It is the responsibility of the MR to issue the revised version to the Copy holder against return of the obsolete version. - One copy of all obsolete versions is suitably identified and kept by MR for information.

Section No.: 2.0

- Abbreviations: - ISO - International Organization for Standardization. - QM - Quality Manual - Regd. – Registered - No. – Number - MR - Management Representative - QSP - Quality System Procedure - QMS – Quality Management System - QC - Quality Control - MOA- Method of Analysis - TM - Test Method - SP - Specification - MRCM –Management Review Committee Meeting. - Sq. mt. - Square meter. - Approx. – Approximately. - Admn. Officer- Administrative Officer - NC—Nonconformity - MFR – Master Formula Record.

Section No.: 4.0

- Scope: - Normative References: ISO 14971 (Risk Management) - Definitions: - Quality Management System: - The organization shall document a quality management system and maintain its effectiveness in accordance with the requirements of this International Standard and applicable regulatory requirements. The organization shall establish, implement and maintain any requirement, procedure, activity or arrangement required to be documented by this International Standard or applicable regulatory requirements. The organization shall document the role(s) undertaken by the organization under the applicable regulatory requirements. NOTE: Roles undertaken by the organization can include manufacturer, authorized representative, importer or distributor. The organization has established, documented, implemented and maintains a Quality Management System in accordance with the requirements of ISO 13485: 2016 and strives to continually improve its effectiveness. - The Organization has followed a process approach in the development of the Quality Management System. The processes of the Quality Management System are categorized as follows: - Management Processes - Product realization Processes - Processes for measurement, analysis and improvement - The Management processes consist of processes required for the effective Implementation of the Quality Management System. These include the following processes: - Establishment of Quality Objectives - Management Review - Provision And Management of Human Resources - Provision And Management of Infrastructure and Work Environment - The Product realization processes consist of those processes which are required for the Provision of product to the Customer. These are: - Customer- related processes such as processing of enquiries and acceptance of orders - Production planning process - Purchasing processes - Verification process for purchased product - Production processes - Process for control of monitoring and measurement devices - Delivery process - The sequence and interaction between these processes is given at Annexure No. I & II of the section.

Section No.: 4.0

- Quality Management System (contd.): - The processes for measurement, analysis and improvement consist of the following: - Process for monitoring and measurement of customer satisfaction - Internal Quality Audit - Monitoring and measurement of Quality Management System processes - In- process and final inspection processes - Analysis of data - Corrective and preventive action, including handling of customer complaints - The criteria and methods for the proper implementation of these processes are defined in the Quality System Procedures and Process Flow Diagrams for the respective processes. The reference of these procedures and Process Flow Diagrams is also indicated in the Annexure II of this document. Where required, the processes are broken up into sub- processes and procedures/ methods are available for the sub- processes. - The organization shall document procedures for the validation of the application of computer software used in the quality management system. Such software applications shall be validated prior to initial use and, as appropriate, after changes to such software or its application. The specific approach and activities associated with software validation and revalidation shall be proportionate to the risk associated with the use of the software. Records of such activities shall be maintained (see 4.2.5). - It is ensured that resources necessary for the operation and control of the processes are made available. The method of operation also ensures that information required for the effective operation and control of the processes is available to the personnel for the operation and monitoring of the processes. - The processes are monitored to ensure smooth operations. Their effectiveness is measured and data from the processes is analyzed and actions are implemented for ensuring that the processes achieve their planned results and for the continual Improvement of the processes.

Section No.: 4.0

4.2 Documentation Requirements: 4.2.1. The Quality Management System documentation consists of documents at four levels, viz.: - Level I comprise the Quality Manual, including statement of the Organization’s Quality Policy and Quality Objectives. - Level II comprise the Quality Procedures and Process Flow Diagrams, including the procedures required by ISO 13485:2016 - Level III comprising the Batch Report, Standard Operating Procedures, MOA & MFR and Specification. - Level IV comprising the documents needed for the effective planning, operation, and control of the processes including Forms and Formats for records required to be maintained. - This Quality Manual contains: - The scope of the Quality Management System and its application. Exclusions to the applicability of the ISO 13485: 2016 are given in Section 0.3 of this document. - Reference to the Quality Procedures and Process Flow Diagrams established for the implementation of the Quality Management System. The cross-references between the Quality Management System documents at the first three levels are at Annexure 3. - A description of the interaction between the processes of the Quality Management system. The sequence and interaction between the processes is given in Annexure 1 & 2 of this section. - Medical Device File: Organization maintaining the Device master files for each device type or medical device family. It is contains: A) General description, intended use, labeling with instruction. B) Specification of the products, C) Procedures for Manufacturing, Packing, Storage, handling and distribution. D) Procedures for Measuring and monitoring, E) Appropriate requirements for installation F) Appropriate Procedures for Servicing. - Control of Documents: All documents required by the Quality Management System are controlled through Implementation of a documented procedure. This documented procedure ensures that: - Documents of the Quality Management System are approved for adequacy prior to issue - Changes to documents are reviewed, updated and re- approved.

Section No.: 4.0

- Documents are given a revision number, which is shown on the documents. When changes are made, the amended documents are re- issued after approval and the nature of change is recorded. - Current versions of the applicable documents are available to the concerned personnel at the points of use. - Documents are identified by a document number and it is ensured that the documents remain legible and are readily identifiable. - Documents of external origin and specified by national, international or regional regulations such as FDA, CE etc. that are required for the effective implementation of the Quality Management System are identified and their distribution controlled. - Obsolete documents are withdrawn from points of use and such obsolete documents, if they are retained for information purposes, are suitably identified. - Control of Records: Records are established and maintained to provide evidence of conformity to the documented requirements and of the effective implementation of the Quality Management System. It is ensured that the records are legible, identifiable and Retrievable. - A documented procedure has been established and implemented for the control of Records. This procedure details the controls for the identification, legibility, storage, Protection, retrieval, retention time and disposition of records. - The Management Representative is responsible for the issue and control of documents. The authorities for review and approval of the documents are identified for the various Documents. The concerned functional heads are responsible for maintaining documents and for the control of relevant records. - QBPL/QSP/042/01- details the procedure for control of documents and QBPL/QSP/042/02 - details the procedure for control of records

Section No.: 5.0

5.0. Management Responsibility: - Management Commitment: Management is committed to the development and implementation of Quality Management System and to continually improve its effectiveness as expressed in the Quality Policy by- - Communicating to the organization the importance of meeting customer as well as statutory & regulatory requirements through Quality Policy as well as training programs. b) Establishing Quality Policy providing framework for establishing Quality Objectives. c) Establishing Quality Objectives which are reviewed periodically. d) Conducting Management Reviews. e) Providing and ensuring availability of Resources - Customer Focus: The Top Management shall continue to ensure that the customer requirements are Determined & are met with the aim of enhancing Customer Satisfaction - The Management of the organization has defined the following Quality Policy: - We, at Q-Line Biotech Private Limited (Formerly Known as POCT Services Pvt. Ltd.) commits that quality of products and services to support business will always is our top priority. - We shall fully commit ourselves for continual improvement to meet or exceed our customers’ expectations. - Top management and employees shall work together as a team and strive towards continual improvement in products, processes, practices and skills. - We shall fulfill all quality system requirements stated in the quality system manual with Speed, Simplicity & Self-confidence. - We shall fulfill the compliance to ISO 13485 and regulatory requirements. - The Quality Policy is displayed at prominent locations and the management has organized awareness training for all the employees to ensure that the Quality Policy is understood and implemented throughout the organization. Quality Policy is also subjected to review of management for continuing suitability with changing operating environment.

Section No.: 5.0

5.4.1. While planning Quality Management System to achieve Quality Objectives, Management has ensured that the requirements of Process Based Quality Management System are also met. Planning Quality Management System is based on eight Quality Management Principles viz. - Customer Focus - Leadership - Process Approach - System Approach - Factual Approach - Engagements of people - Mutually beneficial supplier relationship - Continual Improvement 5.4.2. While planning and implementing changes, it is ensured that the integrity of the Quality Management System is maintained by means of following the change process, which is the part of Quality Management System, and by maintaining the linkage & compatibility between the interfaces. 5.5 Responsibility, Authority and Communication: 5.5.1 Responsibility and Authority: a) The organization chart at Section 5.0 Annexure I detail the hierarchical authority of the Persons, who manage, perform and verify work affecting the Quality. The departmental heads have authority to initiate action to prevent non-conformities, identify and record problems, initiate solutions, verify their implementation and control further processing and delivery till the deficiency is corrected. b) The main responsibilities of the key personnel are given in section 5.0 Annexure II. The primary and secondary responsibility for implementing section 4.0 to 8.0of ISO 13485:2016 are given in the Responsibility Matrix at section 5.0, annexure III. c) Details of responsibilities of the various personnel are communicated to them through the various Quality System Procedures, SOP, MFR and Method of Analysis. - Management Representative: The organization management has appointed Dr. Gupteshwar Gupta as Management Representative In addition to his/her other responsibilities, he/she has the authority and responsibility for: a) Ensuring that the various processes needed for the Quality Management System in accordance with ISO 13485: 2016 are established, implemented, and maintained. b) Reporting on the performance of the Quality Management System & any need for improvement, to the management for review.

Section No.: 5.0

c) The promotion of awareness of customer requirements through the organization. d) for liaisoning with external parties on matters related with Quality Management System 5.5.3 Internal Communication: Appropriate communication channels, including verbal communication, blackboards, and reports/records are established within the organization, as required by Quality System Procedures. It is ensured by the Management Representative that communication takes place regarding the effectiveness of Quality Management System - Management Review: The Management Review Committee has been constituted comprising top management personnel and the MR to undertake periodic review and evaluation of the entire Quality Management System. This review includes assessing opportunities for improvement & the need for changes to the Quality Management System, including the Quality Policy & Quality Objectives. The maximum interval between two successive reviews is six Months. The results of management reviews are documented and implementation of actions, if any are verified by the MR. The Management Review Input covers any or all of the following aspects: Establishment/ Review of Quality Policy and Objectives, Audit Reports, Customer feedback including complaints, Process performance and product conformity, Status of Corrective and Preventive actions. Follow-up report of action resulting from last MRCM, Resource requirements New or revised Regulatory & Statutory Requirements, Changes that could affect the Quality Management System and Recommendations for improvement. The Minutes of Management Review Meetings Output should Contain: Improvement of the effectiveness of the Quality Management System and its Processes. Improvement of the product related to Customer Requirements & Resources needs.

Section No.: 6.0

- Resource Management: Process Description of Resource Management is given in Section No. 4.0, Annexure IV 6.1. Provision of Resources: The Resource Management Process of the organization has provision to determine & provide the resources needed: To implement & maintain the Quality Management System & continually improve its effectiveness and To enhance customer satisfaction by meeting customer and regulatory requirements. The organization has Plant located at Plot No.2&3, Pocket H, Sector 5, DSIIDC, Bawana Industrial Area, New Delhi-110 039 spread over an area of 250Square Meters. The Plant is designed and equipped for the manufacture of diagnostic reagents, Rapid test strips, Rapid test cards and Urine strips and has Plant machinery equipment’s given in section no. 3 - Human Resources: The organization employs about -- personnel in the Plant. The personnel include technical, commercial and administrative personnel, supervisors, operators, workers. In addition, the organization engages the services of consultants whenever required. 6.2.1 Competence, awareness and training: QBPL/QSP/062/01 details the procedure for Human Resources. - Infrastructure: The organization has determined, provided & maintained infrastructure to achieve conformity to product requirements. The infrastructure as detailed in Section No.: 3.0 of Q.M includes: a) buildings, workspace & associated utilities, b) all necessary process equipment’s (both hardware & software) & c) Supporting services like transport and communication. QBPL/QSP/063/01details the procedure for Preventive & Brake Down maintenance. - Work Environment: It is ensured safe work environment is maintained in the plant. Adequate measures and precautions are taken during material handling &production process. Documented procedures are available at for health, cleanliness, and clothing of personnel. Training is provided for safety and firefighting. Telephone numbers of key persons, Fire Brigade, Police Station, Hospitals and Ambulance are available to contact in case of emergency. Required resources are provided to ensure safe working environment. Refer Quality Manual Section No. 3.

Section No.: 7.0

7.0 Product Realization: 7.1.1 Planning of Product Realization: The organization has planned & developed the processes for realization of products. Product realization planning is consistent with the other processes of the Quality Management System The output of product realization planning is in the form of : - Establishment of Quality Objectives & requirements for the product. - Establishment of specific processes, documents & provision of resources specific to the product - Establishment of verification, validation, monitoring, inspection & test activities specific to the product & criteria for product acceptance. - Establishment of Record needed to provide evidence that the realization processes & Resulting product meet requirements. 7.1.2 A documented procedure is established for requirements of risk management throughout product Realization. Refer QBPL?QSP/071/01 - Customer-Related Processes: Section No. 4.0, Annexure II of Q.M-I. Describes Customer-Related Processes. QBPL/QSP/072/01, QBPL/QSP/082/01 & QBPL/QSP/085/01 describes the Specific procedures & arrangements used to handle customer enquiries, complaints & assess customer Satisfaction. - Design and Development: 7.3.1. General The organization shall document procedures for design and development. 7.3.2 Design and development planning The organization shall plan and control the design and development of product. As appropriate, design and development planning documents shall be maintained and updated as the design and development progresses. During design and development planning, the organization shall document: a) The design and development stages. b) The review(s) needed at each design and development stage. c) The verification, validation, and design transfer activities that are appropriate at each design and development stage. d) The responsibilities and authorities for design and development. e) The methods to ensure traceability of design and development outputs to design and development inputs. f) The resources needed, including necessary competence of personnel.

Section No.: 7.0

7.3.3 Design and development inputs Inputs relating to product requirements shall be determined and records maintained (see 4.2.5). These inputs shall include: a) Functional, performance, usability, and safety requirements, according to the intended use. b) Applicable regulatory requirements and standards. c) Applicable output(s) of risk management. d) As appropriate, information derived from previous similar designs. e) The other requirements essential for design and development of the product and processes. These inputs shall be reviewed for adequacy and approved. ﻿Requirements shall be complete, unambiguous, able to be verified or validated, and not in conflict with each other. NOTE: Further information can be found in IEC 62366–1. 7.3.4 Design and development outputs Design and development outputs shall: a) Meet the input requirements for design and development. b) Provide appropriate information for purchasing production and service provision. c) Contain or reference product acceptance criteria. d) Specify the characteristics of the product that are essential for its safe and proper use. The outputs of design and development shall be in a form suitable for verification against the design and development inputs and shall be approved prior to release. Records of the design and development outputs shall be maintained (see 4.2.5). 7.3.5. Design and development review: At suitable stages, systematic reviews of design and development shall be performed in accordance with planned and documented arrangements to: a) Evaluate the ability of the results of design and development to meet requirements. b) Identify and propose necessary actions. Participants in such reviews shall include representatives of functions concerned with the design and Development stage being reviewed, as well as other specialist personnel. Records of the results of the reviews and any necessary actions shall be maintained and include the Identification of the design under review, the participants involved and the date of the review (see 4.2.5). 7.3.6 Design and development verification: Design and development verification shall be performed in accordance with planned and documented arrangements to ensure that the design and development outputs have met the design and development input requirements. The organization shall document verification plans that include methods, acceptance criteria and, as appropriate, statistical techniques with rationale for sample size. If the intended use requires that the medical device be connected to, or have an interface with, other medical device(s), verification shall include confirmation that the design outputs meet design inputs when so connected or interfaced. Records of the results and conclusions of the verification and necessary actions shall be maintained (see 4.2.4 and 4.2.5). 7.3.7 Design and development validation: Design and development validation shall be performed in accordance with planned and documented arrangements to ensure that the resulting product is capable of meeting the requirements for the specified application or intended use. The organization shall document validation plans that include methods, acceptance criteria and, as appropriate, statistical techniques with rationale for sample size. Design validation shall be conducted on representative product. Representative product includes initial production units, batches or their equivalents. The rationale for the choice of product used for validation shall be recorded (see 4.2.5).

Section No.: 7.0

As part of design and development validation, the organization shall perform clinical evaluations or performance evaluations of the medical device in accordance with applicable regulatory requirements. A medical device used for clinical evaluation or performance evaluation is not considered to be released for use to the customer. If the intended use requires that the medical device be connected to, or have an interface with, other medical device(s), validation shall include confirmation that the requirements for the specified application or intended use have been met when so connected or interfaced. Validation shall be completed prior to release for use of the product to the customer. Records of the results and conclusion of validation and necessary actions shall be maintained (see 4.2.4 and 4.2.5). 7.3.8 Design and development transfer: The organization shall document procedures for transfer of design and development outputs to manufacturing. These procedures shall ensure that design and development outputs are verified as suitable for manufacturing before becoming final production specifications and that production capability can meet product requirements. Results and conclusions of the transfer shall be recorded (see 4.2.5). 7.3.9 Control of design and development changes: The organization shall document procedures to control design and development changes. The organization shall determine the significance of the change to function, performance, usability, safety and applicable regulatory requirements for the medical device and its intended use. Design and development changes shall be identified. Before implementation, the changes shall be: a) Reviewed. b) Verified. c) Validated, as appropriate. d) Approved. The review of design and development changes shall include evaluation of the effect of the changes on constituent parts and product in process or already delivered inputs or outputs of risk management and product realization processes. Records of changes, their review and any necessary actions shall be maintained (see 4.2.5). 7.3.10 Design and development files The organization shall maintain a design and development file for each medical device type or medical device family. This file shall include, or reference records generated to demonstrate conformity to the requirements for design and development and records for design and development changes. ﻿ - Purchasing: - Purchasing Process Section No. 4.0, Annexure II of Q.M-I. Describes Purchasing Process. QBPL/QSP/074/01 details the procedure for purchasing. QBPL/QSP/074/01 details the procedure for evaluation and selection of vendors & subcontractors taking care of the organization have a system in place to ensure that purchased product conforms to specified requirement. The type and extent of control applied to the supplier & the purchased product is in line with the effect of the purchased product on subsequent product realization or the final product. - Purchasing Information: PFD/074/01details the procedure for purchasing including adequacy of & approval for Purchasing Information. - Verification of Purchased Product: Organization has been established and implemented an inspection process to ensure purchased products meet specified requirements.

Section No.: 7.0

Quality Assurance is responsible for purchased product verification and acceptance. The Quality Inspection Procedures defines the processes for inspecting and releasing purchased products. When verification of purchased product is to be performed at supplier's premises, purchasing documents specify the intended verification arrangements and method of product release .PFD/074/03 details the procedure for verification of Purchased Product to ensure that purchased product meets specified purchase requirements. 7.5 Production and Service Provision: 7.5.1. The organization plans and carries out production and service provisions under controlled conditions. Controlled conditions include, as applicable: 7.5.1.1. Availability of information that describes the characteristics of the product. 7.5.1.2. Availability of documented procedures, requirements, standard operating procedures work instructions, reference materials, reference measurement procedures as necessary. 7.5.1.3. Use of suitable equipment 7.5.1.4. Availability and use of monitoring and measuring devices 7.5.1.5. Implementation of release, delivery and post-delivery activities 7.5.1.6. Implementation of defined operations for labeling and packaging. 7.5.1.7. Maintenance of records for each batch to provide traceability to the extent specified by regulations and identifies the amount manufactured and amount approved for distribution. Records are verified and approved. 7.5.2. Cleanliness of product: The organization shall document requirements for cleanliness of product or contamination control of product if: a) product is cleaned by the organization prior to sterilization or its use. b) product is supplied non-sterile and is to be subjected to a cleaning process prior to sterilization or its use. c) product cannot be cleaned prior to sterilization or its use, and its cleanliness is of significance in use. d) product is supplied to be used non-sterile, and its cleanliness is of significance in use. e) Process agents are to be removed from product during manufacture. If product is cleaned in accordance with a) or b) above, the requirements contained in 6.4.1 do not apply prior to the cleaning process. 7.5.3. Installation activities: The organization shall document requirements for medical device installation and acceptance criteria for verification of installation, as appropriate. If the agreed customer requirements allow installation of the medical device to be performed by an external party other than the organization or its supplier, the organization shall provide documented requirements for medical device installation and verification of installation. Records of medical device installation and verification of installation performed by the organization, or its supplier shall be maintained (see 4.2.5).

Section No.: 7.0

7.5.4. Servicing activities: If servicing of the medical device is a specified requirement, the organization shall document servicing procedures, reference materials, and reference measurements, as necessary, for performing servicing activities and verifying that product requirements are met. The organization shall analyze records of servicing activities carried out by the organization or its supplier: a) To determine if the information is to be handled as a complaint. b) As appropriate, for input to the improvement process. Records of servicing activities carried out by the organization, or its supplier shall be maintained (see 4.2.5). - Validation of processes for production and service provision: - The organization has system to validate its Production & Analytical Processes as per the requirements of FDA including microbial testing. - Instruments and equipments are calibrated at defined frequency. - It is ensured that the production process and testing is carried out by qualified person approved as per FDA requirements. - Criteria for review & approval of these processes & equipment’s are defined. - Standard operating procedures are validated by QA and Production In Charge - Records of validation are maintained. - Qualified persons do revalidation once in a year. - Identification: Materials, components and finished devices are identified throughout all stages of product realization and when in storage. The system and methods for identifying products are explained per internal documented procedures. - Status Identification: Throughout product realization, and when in storage, products are identified with respect to their acceptance status, e.g., to indicate whether they have passed or failed the specified inspections and/or tests. This is to prevent nonconforming product from being used or dispatched. - Traceability: Traceability is maintained when required by applicable laws and regulations, or when specified internally to facilitate corrective actions. Traceability is based on identifying the finished devices, or lots, with unique control numbers. Activities related to maintaining and recording traceability are addressed per internal procedures. - Preservation of product: Care is taken at all stages to protect raw material and final product from damage during handling. Where required the safety precautions to be taken are displayed. The product is preserved in designated store areas till use or delivery. The methods of authorizing receipt to an issue from the storage areas are prescribed.

Section No.: 7.0

Care is taken to prevent deterioration of the raw material & finished product due to weather conditions when the product is in Organization’s control. The product is protected after final inspection and tested in order to ensure that the quality is not affected. Where specified the protection is extended to include safe delivery to destination. Production In charge and Storekeeper are responsible for preservation of Raw Material, In-process and Final Product. QBPL/QSP/075/02 Describes the Procedure for Preservation of Product - Control of Monitoring and Measuring Devices: - The Organization determines the monitoring and measurement to be undertaken and the monitoring and measuring devices needed to provide evidence of conformity of Product to determined requirements. - Documented procedures are established to ensure that monitoring and measurement can be carried out and are carried out in a manner that is consistent with the monitoring and measurement requirements.

Section No.: 8.0

- Measurement, Analysis, and Improvement: 8.1 Process Descriptions and Process Interaction as per Annexure I & II of Section No. 4.0, of Q.M. and relevant QSPs as referred below explain the planning and implementation of the Monitoring, Measurement, Analysis & Improvement processes needed: - To demonstrate conformity of the product - To ensure conformity of the Quality Management System - To continually improve the effectiveness of the Quality Management System - Monitoring and Measurement: - Feedback – As one of the measurements of the performance of the Quality System is Monitoring of information relating to whether the organization has met customer Requirements and performed as designed. - Complaint Handling: The documented procedure provides early warning of quality problems and for input into the Corrective and Preventive Action System. - Internal Audit: Organization conducts Internal Audits at planned intervals to determine whether the quality management system - Conforms to planned arrangements, to the requirements of ISO 13485: 2016 and to the requirements established by the organization. - Is effectively implemented and maintained. QBPL/QSP/082/01describes the procedure adopted to plan and conduct audits, and for reporting results and maintaining records. - Monitoring and Measurement of Processes: Organization applies suitable methods for monitoring and, where applicable, measurement of the Quality System processes. These methods demonstrate the ability of the processes to achieve planned result. When planned results are not achieved, corrective action is taken, as appropriate, to ensure conformity of the product. - Monitoring and Measurement of Product: - Organization monitors and measures the characteristics of the product to verify that product requirements are met. This is carried out at appropriate stages of the production process in accordance with documented procedures. Product release and delivery does not proceed until all requirements have been satisfactorily completed. Evidence of conformity with the acceptance criteria is maintained. Records include the identity of personnel performing inspection or testing. - Particular requirement for active implantable medical devices and implantable devices Not Applicable

Section No.: 8.0

- Control of nonconforming product: QBPL/QSP/083/01describes the procedure adopted to identify and control the nonconforming product to prevent its unintended use or delivery it also describes the authorities and related responsibilities, various options, records maintained while dealing with such products. - Analysis of Data: 8.4.1. Organization has established documented procedures to determine collect and analyze appropriate data to demonstrate the suitability and effectiveness of the Quality System and to identify opportunities for improvement. 8.4.2. The Statistical Treatments and Data Analysis procedure defines the processes for collecting, analyzing and using the quality performance data. The analysis of data provides information relating to: - Customer satisfaction. - Conformity to product requirements - Characteristic & trends of processes & product including opportunities for preventive action - Suppliers - Improvement: - General: The Organization continually improves the effectiveness of the Quality System through the use of the quality policy, quality objectives, audit results, analysis of data, corrective and preventive actions and management review. Customer complaints that allege deficiencies related to the identity, quality, durability, reliability, safety, effectiveness, or performance of a distributed device are documented. Complaints that involve a possible failure of a device, labeling, or packaging to meet any of its specifications, and/or complaints representing an event which must be reported to regulatory authorities are always investigated, and the results of the investigation are documented. - Corrective Action: QBPL/QSP/085/01 details the Procedure for Corrective Action to eliminate the root causes of actual non-conformities to prevent its recurrences. - Preventive Action: QBPL/QSP/085/02 details the procedure for preventive action to eliminate potential causes of non-conformities to prevent its recurrences.