DEVICE MASTER FILE FOR IN VITRO DIAGNOSTIC MEDICAL DEVICES

Appendix III, Fourth Schedule | Form MD-28

| Applicant | {applicantName} |
| --- | --- |
| Device | {ivdGenericName} |
| Document No. / Revision | {documentNumber} / {documentRevision} |
| Effective / Report Date | {documentDate} |
| Regulatory basis | Fourth Schedule, Appendix III |

Replace every placeholder with verified information. Where a heading is not applicable, state ‘Not applicable’ and give a concise technical reason; do not delete required headings.

# 1.0 Executive Summary

{dmfExecutiveSummary}

Include device/intended use/risk class/novel features/shelf life/dossier synopsis; similar-device status in India; domestic price; marketing history; regulatory approvals/pending or withdrawn applications; adverse events/FSCA; and animal/human or microbial/recombinant materials.

# 2.0 Description and Specification, Including Variants and Accessories

{dmfDescriptionSpecification}

What is detected; function; disorder/condition; automated/manual; qualitative/quantitative; specimen and population; intended user; assay principle; class; components/reactive ingredients; collection/transport materials; instrumentation; software; configurations; accessories; previous generations; clinical-performance summary and market data as applicable.

# 3.0 Essential Principles Checklist

{dmfEPReference}

Cross-reference the separate checklist showing applicability, method of conformity and exact evidence location.

# 4.0 Risk Analysis and Control Summary

{dmfRiskSummary}

Summarise hazards, controls and residual risk, including false results, instability, specimen/reagent and user hazards; cross-reference the full risk report.

# 5.0 Design and Manufacturing Information

{dmfDesignManufacturing}

Critical assay ingredients; controlling design site; manufacturing flow including in-process/final tests and packaging; critical manufacturing sites and QMS certificates.

# 6.0 Product Validation and Verification

{dmfValidationVerification}

For each study provide protocol, analysis method, results, acceptance criteria and conclusion; cross-reference full reports.

# 7.0 Analytical Studies

{dmfAnalyticalStudies}

Summarise applicable analytical studies and justify non-applicable studies by assay/instrument type.

# 8.0 Specimen Type

{dmfSpecimenType}

Specimen types, matrices/anticoagulants, collection, transport, storage, stability, freeze/thaw limits and comparison/accuracy method.

# 9.0 Analytical Performance Characteristics

{dmfAccuracyReproducibility}

Accuracy/trueness/precision and reproducibility across days, runs, sites, lots, operators and instruments.

# 10.0 Analytical Sensitivity

{dmfAnalyticalSensitivity}

Study design and results for LoB, LoD and LoQ as applicable, including specimen/matrix, levels, replicates and calculation.

# 11.0 Analytical Specificity

{dmfAnalyticalSpecificity}

Interference and cross-reactivity studies with substances/agents, concentrations, specimens, analyte levels, results and conclusion.

# 12.0 Metrological Traceability of Calibrator and Control Values

{dmfMetrologicalTraceability}

Reference materials/procedures, value assignment, traceability chain, validation and acceptance criteria, where applicable.

# 13.0 Measuring Range of the Assay

{dmfMeasuringRange}

Linearity/non-linearity, analytical measuring range, specimen/replicates/levels, LoD and high-dose hook effect/mitigation where applicable.

# 14.0 Definition of Assay Cut-off

{dmfAssayCutoff}

Population, specimen characterisation and statistical method used to set cut-off and gray/equivocal zone.

# 15.0 Stability Overview

{dmfStabilityOverview}

Overview of shelf-life, in-use and shipping stability studies and claims.

# 16.0 Claimed Shelf Life

{dmfShelfLife}

At least three lots; protocol, acceptance criteria, intervals, real-time/accelerated method, results and conclusion.

# 17.0 In-use Stability

{dmfInUseStability}

One-lot actual/simulated routine use, open-vial/on-board/calibration stability, protocol, intervals, results and conclusion.

# 18.0 Shipping Stability

{dmfShippingStability}

One-lot real/simulated shipping conditions, extremes, protocol, acceptance criteria, results, conclusion and recommended conditions.

# 19.0 Clinical Evidence

{dmfClinicalEvidence}

Clinical performance evidence/evaluation supporting conformity with applicable Essential Principles.

# 20.0 Labelling

{dmfLabelling}

Cross-reference the complete label set and product insert/IFU for all packaging levels.

# 21.0 Post-Marketing Surveillance / Vigilance

{dmfPMS}

Procedures and data for complaints, adverse events, vigilance, FSCA and CAPA; state if not yet marketed.

# 22.0 Additional IVD Information

{dmfAdditionalIVDInformation}

Source/characterisation of antigen/antibody; coating and process controls; composition and flowcharts; test protocol and in-house sensitivity/specificity/stability; origin-country evaluation for import; three-batch reports; component reports; pack size; inserts; India-specific evaluation if available; safe handling/material/area/process/storage/packaging controls.

# Regulatory approvals table

| Country | Approved indication | Approved shelf life | Composition / configuration | Risk class | First approval date | Evidence |
| --- | --- | --- | --- | --- | --- | --- |
| {#dmfRegulatoryApprovals}{country} | {approvedIndication} | {approvedShelfLife} | {composition} | {riskClass} | {firstApprovalDate} | {evidence}{/dmfRegulatoryApprovals} |

# Annexure index

| Annexure | Document / report | Document number/version | Location |
| --- | --- | --- | --- |
| {#dmfAnnexures}{annexureNumber} | {documentTitle} | {numberVersion} | {location}{/dmfAnnexures} |

# Approval and certification

| Role | Name | Designation | Date | Signature |
| --- | --- | --- | --- | --- |
| Prepared by | {preparedByName} | {preparedByDesignation} | {preparedDate} | ________________ |
| Reviewed by | {reviewedByName} | {reviewedByDesignation} | {reviewedDate} | ________________ |
| Approved by | {approvedByName} | {approvedByDesignation} | {approvedDate} | ________________ |