RISK MANAGEMENT REPORT

Form MD-28 technical dossier

| Applicant | {applicantName} |
| --- | --- |
| Device | {deviceGenericName} |
| Document No. / Revision | {documentNumber} / {documentRevision} |
| Effective / Report Date | {documentDate} |
| Regulatory basis | Fourth Schedule, Part IV risk management data |

Replace every placeholder with verified information. Where a heading is not applicable, state ‘Not applicable’ and give a concise technical reason; do not delete required headings.

# 1. Scope and device lifecycle

{riskScope}

Identify device/models, intended use, reasonably foreseeable misuse and lifecycle phases covered.

# 2. Risk management process and responsibilities

{riskManagementProcess}

Identify the controlled procedure, team, competence, risk acceptability policy and recognized standard(s), if used.

# 3. Device characteristics related to safety

{safetyCharacteristics}

Summarise characteristics that could affect safety or performance.

# 4. Hazard analysis and risk controls

For IVDs include false-positive, false-negative, invalid result, instability, specimen, reagent and user-related hazards.

| Hazard / sequence | Hazardous situation and harm | Initial risk | Risk control(s) | Verification evidence | Residual risk |
| --- | --- | --- | --- | --- | --- |
| {#riskAnalysis}{hazardSequence} | {hazardousSituationHarm} | {initialRisk} | {riskControls} | {verificationEvidence} | {residualRisk}{/riskAnalysis} |

# 5. Production and post-production information

{productionPostProductionRisk}

Summarise complaint, vigilance, trend, CAPA and post-market inputs considered; state if the device is not yet marketed.

# 6. Overall residual risk and benefit–risk evaluation

{overallResidualRiskBenefit}

Evaluate cumulative residual risk against the anticipated clinical benefit and intended performance.

# 7. Risk management conclusion

{riskManagementConclusion}

State whether the plan has been implemented, controls verified and overall residual risk accepted by authorised management.

# Approval and certification

| Role | Name | Designation | Date | Signature |
| --- | --- | --- | --- | --- |
| Prepared by | {preparedByName} | {preparedByDesignation} | {preparedDate} | ________________ |
| Reviewed by | {reviewedByName} | {reviewedByDesignation} | {reviewedDate} | ________________ |
| Approved by | {approvedByName} | {approvedByDesignation} | {approvedDate} | ________________ |