CLINICAL PERFORMANCE EVALUATION DATA REPORT

Form MD-28 | New in vitro diagnostic medical device

| Applicant | {applicantName} |
| --- | --- |
| Device | {ivdGenericName} |
| Document No. / Revision | {documentNumber} / {documentRevision} |
| Effective / Report Date | {documentDate} |
| Regulatory basis | Fourth Schedule, Part IV(b)(3) |

Replace every placeholder with verified information. Where a heading is not applicable, state ‘Not applicable’ and give a concise technical reason; do not delete required headings.

# 1. Evaluation identification

{cpeIdentification}

Study title, plan number/version/date, Sponsor, laboratories/sites, investigators, Ethics Committee approvals, CTRI reference if applicable, study dates and report version.

# 2. Objective and claimed performance

{cpeObjectivesClaims}

State primary/secondary objectives and the clinical performance claims to be evaluated.

# 3. Device, comparator and reference method

{cpeDeviceComparator}

Identify device/lot/software, comparator/reference method and traceability; explain any change during evaluation.

# 4. Specimens and population

{cpeSpecimensPopulation}

Sources, inclusion/exclusion, demographics/clinical spectrum, specimen types, collection/handling/storage, sample size and disposition.

# 5. Study design and conduct

{cpeDesignConduct}

Design, sites/operators, blinding, sequence, invalid/retest rules, deviations and quality controls.

# 6. Statistical analysis

{cpeStatisticalAnalysis}

Analysis sets, endpoints, confidence intervals, missing/indeterminate results, subgroup analyses and acceptance criteria.

# 7. Results

| Endpoint / subgroup | N | Estimate | Confidence interval | Acceptance criterion | Conclusion |
| --- | --- | --- | --- | --- | --- |
| {#cpeResults}{endpointSubgroup} | {sampleSize} | {estimate} | {confidenceInterval} | {acceptanceCriterion} | {conclusion}{/cpeResults} |

# 8. Invalid, discrepant and adverse outcomes

{cpeInvalidDiscrepantOutcomes}

Account for invalid/indeterminate/discrepant results, specimen exclusions, user issues and any safety event.

# 9. Discussion, limitations and applicability to India

{cpeDiscussion}

Interpret clinical sensitivity/specificity or other applicable performance, bias, limitations, population spectrum and Indian-use applicability.

# 10. Conclusion

{cpeConclusion}

State whether the evaluation supports the intended use and each claimed clinical performance characteristic.

# 11. Appendices and evidence

| Appendix | Document / data listing | Version/date | File reference |
| --- | --- | --- | --- |
| {#cpeAppendices}{appendixNumber} | {document} | {versionDate} | {fileReference}{/cpeAppendices} |

# Approval and certification

| Role | Name | Designation | Date | Signature |
| --- | --- | --- | --- | --- |
| Prepared by | {preparedByName} | {preparedByDesignation} | {preparedDate} | ________________ |
| Reviewed by | {reviewedByName} | {reviewedByDesignation} | {reviewedDate} | ________________ |
| Approved by | {approvedByName} | {approvedByDesignation} | {approvedDate} | ________________ |