# SELF-CERTIFICATE OF GOOD DISTRIBUTION COMPLIANCE

Furnished under rule 87A(3)(ii) of the Medical Devices Rules, 2017

| Applicant / Firm | {applicantName} |
| --- | --- |
| Nature and constitution | {applicantConstitution} |
| Premises to be registered | {premisesAddress} |
| Competent person | {competentPersonName} - {competentPersonQualification}; {competentPersonExperience} |

I/We, the undersigned authorised signatory of {applicantName}, hereby self-certify that the distribution arrangements established at the above premises comply, and will continue to comply, with the applicable requirements for sale, stocking, exhibition, offer for sale and distribution of medical devices, including in vitro diagnostic medical devices.

Adequate space and suitable storage conditions are available for the medical devices handled at the premises.

Required temperature and lighting conditions will be maintained in accordance with the applicable device label, instructions for use and manufacturer requirements.

Medical devices will be procured only from an importer, licensed manufacturer, or other registered or licensed entity authorised to supply them.

Purchase and sale records will identify the device name and quantity, manufacturer or importer name and address, batch or lot number, and expiry date where applicable.

The records will be made available for inspection and preserved for at least two years from the date of the last entry.

The registration certificate will be displayed prominently after grant, and an inspection book in Form MD-43 will be maintained as required.

I/We confirm that the information stated above is true and undertake to notify the competent licensing authority of any material change affecting compliance.

| Place: {applicationPlace} Date: {applicationDate} | Signature: ______________________________ {authorisedSignatoryName} {authorisedSignatoryDesignation} For {applicantName} Seal/Stamp: _____________________________ [To be signed manually] |
| --- | --- |